{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["单位工程造价汇总表","分部分项工程量清单计价表","措施项目清单计价表(一)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"单位工程造价汇总表","index":0,"n_rows":43,"n_cols":3,"rows_kept":43,"merged":[[0,0,1,2],[2,0,2,2],[3,0,4,0],[3,1,4,1],[3,2,4,2],[42,0,42,2]],"flags":["formulas_cached_only"]}
["单位工程造价汇总表"]
[]
["工程名称:阜阳科技工程学校办公室装修、卫生间改建工程                  第&P页共&S页"]
["序号","项  目  名  称","金额(元)"]
[]
["1","分部分项工程量清单计价合计"]
["2","措施项目清单计价合计"]
["3","其他项目清单计价合计",0]
["4","规费"]
["5","税金"]
["-","合 计"]
{"$rows_empty":31}
["【一点智慧清单先锋 V8.0.47】"]

{"sheet":"分部分项工程量清单计价表","index":1,"n_rows":55,"n_cols":8,"rows_kept":55,"merged":[[0,0,1,7],[2,0,2,7],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,3,7],[54,0,54,7]],"flags":["formulas_cached_only"]}
["分部分项工程量清单计价表"]
[]
["工程名称:阜阳科技工程学校办公室装修、卫生间改建工程              "]
["序号","项目编码","项  目  名  称","项目特征","计量单位","工程数量","金额(元)"]
[{"$nulls":6},"单价","合价"]
[null,null,"建筑工程",null,null,0,0,0]
[null,null,"A.3.2 砖砌体",null,null,0,0,0]
["1","010302001001","实心砖墙","1、砖品种、规格、强度等级:煤矸石烧结砖MU15\r\n2、墙体类型:外墙、内墙、女儿墙\r\n3、墙体厚度:240mm\r\n4、砂浆强度等级、配合比:水泥M7.5","m3",{"v":0.72,"d":"0.720"},0,0]
["2","020209001001","卫生间隔墙\r\r\n","1、骨架、边框材料种类、规格:详见施工图\r\n2、隔板材料品种、规格、品牌、颜色:铝合金板材","m2",{"v":30,"d":"30.000"},0,0]
[null,null,"A.7 屋面及防水工程",null,null,0,0,0]
[null,null,"A.7.2 屋面防水",null,null,0,0,0]
["3","010702001001","屋面防水\r\r\n","1、卷材品种、规格:详见图集99J201-1第7页第W2-K（h=4）-B7（h=30）节点\r\n2、防水层做法:高聚合物改性沥青防水卷材基层处理\r\n3、找平层:最薄处30mm厚1;3水泥砂浆找平层","m2",{"v":72,"d":"72.000"},0,0]
["4","010703002001","地面防水","1、涂膜厚度、遍数、增强材料种类:详见设计图\r\n2、防水部位:地面\r\n3、防水做法:涂膜防水层、20mm厚1:3水泥砂浆找平层","m2",{"v":72,"d":"72.000"},0,0]
[null,null,"装饰装修工程",null,null,0,0,0]
[null,null,"B.5 油漆、涂料、裱糊工程",null,null,0,0,0]
["5","020501001001","门窗油漆","1、门、窗类型:木门窗\r\n2、腻子种类:其他未尽事宜同甲方协议而定","m2",{"v":127,"d":"127.000"},0,0]
["6","020505001001","铁栏杆、扶手油漆","油漆品种、刷漆遍数:醇酸磁漆一遍","m2",{"v":151,"d":"151.000"},0,0]
["7","020401003001","实木装饰门","1、门类型:实木门\r\n2、框截面尺寸、单扇面积:1000mm*2100mm\r\n3、骨架材料种类:木门框\r\n4、面层材料品种、规格、品牌、颜色:实木门","樘",{"v":1,"d":"1.000"},0]
[null,null,"本页小计",{"$nulls":4},0]
["8","020209001002","墙面隔断","1、骨架、边框材料种类、规格:木龙骨骨架\r\n2、隔板材料品种、规格、品牌、颜色:双面石膏板\r\n3、油漆品种、刷漆遍数:其他未尽事宜和甲方协商而定","m2",{"v":21.2,"d":"21.200"},0,0]
[null,null,"B.1 楼地面工程",null,null,0,0,0]
["9","020101001001","卫生间地面加高","1、垫层材料种类、厚度:混凝土基层上\r\n2、面层厚度、砂浆配合比:150mmc20细石混凝土","m2",40.625,0,0]
["10","020507001001","办公室内墙粉刷\r\r\n","1、基层类型:涂料墙面基层\r\n2、腻子种类:无\r\n3、涂料品种、刷喷遍数:其他未尽事宜和甲方协商","m2",{"v":1320,"d":"1320.000"},0,0]
["11","020201001001","墙面一般抹灰","1、墙体类型:外墙、内墙\r\n2、底层厚度、砂浆配合比:12mm厚1:3水泥砂浆打底扫毛\r\n3、面层厚度、砂浆配合比:8mm厚1:2水泥砂浆面层压实感光\r\n4、装饰面材料种类:仿瓷涂料二遍","m2",{"v":6,"d":"6.000"},0,0]
["12","020204003001","饰面砖墙面","1、墙体类型:卫生间墙\r\n2、底层厚度、砂浆配合比:10mm后1:3水泥砂浆打底扫毛\r\n3、贴结层厚度、材料种类:5mm厚1:0.1:2.5水泥细砂浆结合面砖\r\n4、挂贴方式:粘贴\r\n5、面层材料品种、规格、品牌、颜色:5-8厚墙面砖、周长1600mm以内\r\n6、缝宽、嵌缝材料种类:白水泥擦缝","m2",{"v":62,"d":"62.000"},0,0]
["13","020102002001","块料楼面","1、垫层材料种类、厚度:30mm厚1：2.5水泥砂浆\r\n2、找平层厚度、砂浆配合比:最薄处20mm厚1:2水泥砂浆找平层\r\n3、面层材料品种、规格、品牌、颜色:地面砖楼面，周长3200mm以内","m2",{"v":238,"d":"238.000"},0,0]
[null,null,"本页小计",{"$nulls":4},0]
["14","020105001001","踢脚线","1、踢脚线高度:100mm\r\n2、底层厚度、砂浆配合比:20mm1:2水泥砂浆粘结层\r\n3、面层厚度、砂浆配合比:陶瓷踢脚线\r\n4、其他未尽事宜和甲方协商","m2",{"v":16.8,"d":"16.800"},0,0]
[null,null,"C.8.4 卫生器具制作安装",null,null,0,0,0]
["15","030804012001","蹲式大便器","1、材质:陶瓷\r\n2、组装形式:其他未尽事宜和甲方协商\r\n3、型号、规格:详见图集93J204第17页节点1、2、4、6","套",{"v":4,"d":"4.000"},0,0]
["16","030804004001","立柱式洗手盆","1、材质:陶瓷\r\n2、型号:其他未尽事宜和甲方协商","组",{"v":4,"d":"4.000"},0,0]
["17","030804017001","地漏","1、材质:不锈钢\r\n2、型号、规格:DN50、详见图集93J204第17页节点1、2、4、6","个",{"v":6,"d":"6.000"},0,0]
["18","030804016001","水龙头","1、材质:金属\r\n2、型号、规格:DN15","个",{"v":6,"d":"6.000"},0,0]
["19","030803002001","螺纹法兰阀门","1、材质:金属\r\n2、型号、规格:DN25","个",{"v":2,"d":"2.000"},0,0]
["20","030803001001","三角阀","1、材质:金属\r\n2、型号、规格:DN25","个",{"v":8,"d":"8.000"},0,0]
["21","030804016002","三联龙头","1、材质:金属\r\n2、型号、规格:其他未尽事宜和甲方协商","个",{"v":2,"d":"2.000"},0,0]
["22","030801005001","塑料管（UPVC、PVC、PP-C、PP-R、PE管等）","1、安装部位（室内、室外）:室内\r\n2、输送介质（给水、排水、热媒体、燃气、雨水）:给水\r\n3、材质:塑料PPR\r\n4、型号、规格:DN25\r\n5、连接方式:熔接连接\r\n6、接口材料:塑料","m",{"v":54,"d":"54.000"},0,0]
[null,null,"本页小计",{"$nulls":4},0]
["23","030801005002","塑料管（UPVC、PVC、PP-C、PP-R、PE管等）","1、安装部位（室内、室外）:室内\r\n2、输送介质（给水、排水、热媒体、燃气、雨水）:污水\r\n3、材质:塑料、PVC\r\n4、型号、规格:DN50\r\n5、连接方式:粘结连接\r\n6、套管形式、材质、规格:管道安装、试压、通水","m",{"v":18,"d":"18.000"},0,0]
["24","030801005003","塑料管（UPVC、PVC、PP-C、PP-R、PE管等）","1、安装部位（室内、室外）:室内\r\n2、输送介质（给水、排水、热媒体、燃气、雨水）:污水\r\n3、材质:塑料、PVC\r\n4、型号、规格:DN110\r\n5、连接方式:粘结连接\r\n6、套管形式、材质、规格:管道安装、试压、通水","m",{"v":8,"d":"8.000"},0,0]
["25","030801005004","塑料管（UPVC、PVC、PP-C、PP-R、PE管等）","1、安装部位（室内、室外）:室外\r\n2、输送介质（给水、排水、热媒体、燃气、雨水）:污水\r\n3、材质:塑料、PVC\r\n4、型号、规格:DN160\r\n5、连接方式:粘结连接\r\n6、套管形式、材质、规格:管道安装、试压、通水","m",{"v":4,"d":"4.000"},0,0]
[null,null,"D.8.1 拆除工程",null,null,0,0,0]
["26","020401001001","拆除木门","1、门类型:木门\r\n2、框截面尺寸、单扇面积:其他未尽事宜和甲方商议而定","樘",{"v":3,"d":"3.000"},0,0]
["27","040801007001","卫生间便池、水池拆除","1、结构形式:砖混结构\r\n2、其他未尽事宜和甲方协商而定","项",{"v":2,"d":"2.000"},0,0]
["28","010101006001","垃圾运输","建筑垃圾运输","项",{"v":1,"d":"1.000"},0,0]
["29","010101006002","材料运输","建筑材料运输","项",{"v":1,"d":"1.000"},0,0]
[null,null,"本页小计"]
[null,null,"合  计",{"$nulls":4},0]
[]
[]
[]
[]
[]
[]
["【一点智慧清单先锋 V8.0.47】"]

{"sheet":"措施项目清单计价表(一)","index":2,"n_rows":28,"n_cols":4,"rows_kept":28,"merged":[[0,0,1,3],[2,0,2,3],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[27,0,27,3]],"flags":["formulas_cached_only"]}
["措施项目清单计价表（一）"]
[]
["工程名称:阜阳科技工程学校办公室装修、卫生间改建工程               "]
["序号","项  目  名  称","金额（元）","备注"]
[]
["1","临时工程费",null," 由投标单位依据施工现场情况和施工组织设计内容，自行分项编列，总价包干且不得超过分类分项工程费总价的2.5%。"]
["2","安全文明施工措施费",null," 投标单位根据施工安排需要编列由投标单位依据施工现场情况和施工组织设计内容，自行分项编列，但不得超过分类分项工程费总价的1%。"]
["3"]
{"$rows_empty":19}
["【一点智慧清单先锋 V8.0.47】"]